## Slide 1
Reagent #2 0.001M luminol in 0.1M NaOH pH 12,
volume 100 µL
Carrier: an aqueous solution containing 0.025% (v/v) Brij
Sample Fe (II) in 0.001 N HCl volume 50 µL
Chemiluminescence:
STEP#1 REAGENT LOADED INTO FLOWCELL
STEP#2 SAMPLE INJECTED INTO FLOWCELL
Sequencing of Sample and Reagents
Hugo Oliveira, unpublished results from N.B. Palmer cruise Antarctica 2011
counts
FIBER OPTICS
Flow Cell
Holding Coil
LUMINOL
Fe
PRODUCT